## Sorted By Origin
Class | FITS Keyword | Description | Origin | Origin 2 | Header (bundle) | Header (de-bundled) | Header (4D structure) | Data Types | Allowed Values/Format | NIR/VIS | Imag./Spectr. | Full/Window | Cal/Science | Example Value | Comments | Questions
<Various> | TELESCOP | Name of telescope | Telescope | GPP | Primary | Primary | Primary | string | Gemini-North¦Gemini-South | both | both | both | both | Gemini-South
| INSTRUME | Instrument used to acquire data | Telescope | GPP | Primary | Primary | Primary | string | SCORPIO | both | both | both | both | SCORPIO | value should be uppercase (source: GMOS, F2)
| OBSERVER | Gemini observers | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | Simpson, Homer J.
| SSA | Gemini SSAs | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | Conrad, Hermes M.
| OBSTYPE | Observation type | Telescope | GPP | Primary | Primary | Primary | string | arc¦bias¦cal¦dark¦flat¦fringe¦object | both | both | both | both |  | value should be uppercase (source: GMOS, F2)
| OBSCLASS | Observe class | Telescope | GPP | Primary | Primary | Primary | string | acq¦acqCal¦dayCal¦partnerCal¦progCal¦science | both | both | both | both |  | value should be lowercase (source: GMOS, F2)
| GEMPRGID | Gemini program ID | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | GS-2019B-Q-207
| OBSID | Observation ID / Data label | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | GS-2019B-Q-207-14
| DATALAB | Data Handling System data label | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | GS-2019B-Q-207-14-002
| SCIBAND | Science ranking band | Telescope | GPP | Primary | Primary | Primary | integer | - | both | both | both | both | 2
| PROP_MD | Proprietary Metadata | Telescope | GPP | Primary | Primary | Primary | boolean | T¦F | both | both | both | both | F
| RELEASE | End of proprietary period | Telescope | GPP | Primary | Primary | Primary | string | YYYY-MM-DD | both | both | both | both | 2021-09-18
| REQIQ | Requested Image Quality | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | 85-percentile | value should start uppercase (source: GMOS, F2)
| REQCC | Requested Cloud Cover | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | 50-percentile | value should start uppercase (source: GMOS, F2)
| REQBG | Requested Background | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | 80-percentile | value should start uppercase (source: GMOS, F2)
| REQWV | Requested Water Vapor | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | Any | value should start uppercase (source: GMOS, F2)
| RAWIQ | Raw Image Quality | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | 70-percentile | value should start uppercase (source: GMOS, F2)
| RAWCC | Raw Cloud Cover | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | 50-percentile | value should start uppercase (source: GMOS, F2)
| RAWBG | Raw Background | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | Any | value should start uppercase (source: GMOS, F2)
| RAWWV | Raw Water Vapor | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | Any | value should start uppercase (source: GMOS, F2)
| RAWGEMQA | Gemini Quality Assessment | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | USABLE | value should be uppercase (source: GMOS, F2)
| RAWPIREQ | PI requirements met | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | YES | value should be uppercase (source: GMOS, F2)
Target | OBJECT | Object name | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | PhoSim Star and Galaxy Field | may be uppercase or lowercase (source: GMOS, F2)
| FRAME | Target coordinate system | Telescope | GPP | Primary | Primary | Primary | string | - | both | both | both | both | FK5 | value should be uppercase (source: GMOS, F2)
| EQUINOX | Equinox of coordinate system | Telescope | GPP | Primary | Primary | Primary | float | - | both | both | both | both | 2000.
| EPOCH | Epoch for target coordinates | Telescope | GPP | Primary | Primary | Primary | float | - | both | both | both | both | 2000.
| RA | Right Ascension of target | Telescope | GPP | Primary | Primary | Primary | float | - | both | both | both | both | 32.339727
| DEC | Declination of target | Telescope | GPP | Primary | Primary | Primary | float | - | both | both | both | both | -16.486495
| PMRA | Proper motion of target in RA | Telescope | GPP | Primary | Primary | Primary | float | - | both | both | both | both | 0
| PMDEC | Proper motion of target in Dec | Telescope | GPP | Primary | Primary | Primary | float | - | both | both | both | both | 0
| PARALLAX | Parallax of target | Telescope | GPP | Primary | Primary | Primary | float | - | both | both | both | both | 0
| RADVEL | Heliocentric radial velocity of target | Telescope | GPP | Primary | Primary | Primary | float | - | both | both | both | both | 0
| RATRGOFF | Target offset in RA in arcsec | Telescope | GPP | Primary | Primary | Primary | float | - | both | both | both | both | 0
| DECTRGOF | Target offset in Dec in arcsec | Telescope | GPP | Primary | Primary | Primary | float | - | both | both | both | both | 0
Tracking | TRKFRAME | Tracking coordinate system | Telescope | GPP ? | Primary | Primary | Primary | string | - | both | both | both | both | FK5 | value should be uppercase (source: GMOS, F2)
| TRKEQUIN | Equinox of tracking coordinate system | Telescope | GPP ? | Primary | Primary | Primary | float | - | both | both | both | both | 2000
| TRKEPOCH | Differential tracking reference epoch | Telescope | GPP ? | Primary | Primary | Primary | float | - | both | both | both | both | 58744.38924
| RATRACK | Differential tracking rate RA | Telescope | GPP ? | Primary | Primary | Primary | float | - | both | both | both | both | 0
| DECTRACK | Differential tracking rate Dec | Telescope | GPP ? | Primary | Primary | Primary | float | - | both | both | both | both | 0
Environment | AIRMASS | Mean airmass for the observation | Telescope | GWS | Primary | Primary | Primary | float | - | both | both | both | both | 1.248
| AMSTART | Airmass at start of observation | Telescope | GWS | Primary | Primary | Primary | float | - | both | both | both | both | 1.204
| AMEND | Airmass at end of observation | Telescope | GWS | Primary | Primary | Primary | float | - | both | both | both | both | 1.305
| HUMIDITY | Relative humidity (fraction) | Telescope | GWS | Primary | Primary | Primary | float | - | both | both | both | both | 14
| TAMBIENT | Ambient temperature at start of observation (C) | Telescope | GWS | Primary | Primary | Primary | float | - | both | both | both | both | -5.2389
TLH: omit F | TAMBIEN2 | Ambient temperature at start of observation (F) | Telescope | GWS | Primary | Primary | Primary | float | - | both | both | both | both | 22.5699
| DEWPOINT | Dew point at start of observation (C) | Telescope | GWS | Primary | Primary | Primary | float | - | both | both | both | both | -18.6
TLH: omit F | DEWPOIN2 | Dew point at start of observation (F) | Telescope | GWS | Primary | Primary | Primary | float | - | both | both | both | both | -1.48
| PRESSURE | Atmospheric pressure at start of observation (mm Hg) | Telescope | GWS | Primary | Primary | Primary | float | - | both | both | both | both | 536.9031
| PRESSUR2 | Atmospheric pressure at start of observation (Pa) | Telescope | GWS | Primary | Primary | Primary | float | - | both | both | both | both | 71580.9992
| WINDSPEE | Wind speed at start of observation (m/s) | Telescope | GWS | Primary | Primary | Primary | float | - | both | both | both | both | 2.7
TLH: omit mph | WINDSPE2 | Wind speed at start of observation (mph) | Telescope | GWS | Primary | Primary | Primary | float | - | both | both | both | both | 6.0399
| WINDDIRE | Wind direction (degrees) | Telescope | GWS | Primary | Primary | Primary | float | - | both | both | both | both | 230.
Pointing | XOFFSET | Telescope offset in x in arcsec | Telescope | TCS | Data | Primary | Primary | float | - | both | both | both | both | 0
| YOFFSET | Telescope offset in y in arcsec | Telescope | TCS | Data | Primary | Primary | float | - | both | both | both | both | 0
| POFFSET | Telescope offset in p in arcsec | Telescope | TCS | Data | Primary | Primary | float | - | both | both | both | both | 0
| QOFFSET | Telescope offset in q in arcsec | Telescope | TCS | Data | Primary | Primary | float | - | both | both | both | both | 0
| RAOFFSET | Telescope offset in RA in arcsec | Telescope | TCS | Data | Primary | Primary | float | - | both | both | both | both | 0
| DECOFFSE | Telescope offset in Dec in arcsec | Telescope | TCS | Data | Primary | Primary | float | - | both | both | both | both | 0
| HA | Telescope hour angle | Telescope | TCS | Primary | Primary | Primary | string | - | both | both | both | both | -00:00:15.73
| ELEVATIO | Elevation at start of observation | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 13.1968
| AZIMUTH | Azimuth at start of observation | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 173.4321819
| PAR_ANG | Parallactic angle | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 1 | does not exist in sample GMOS and F2 headers
| PA | Sky Position Angle at start of exposure | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 0
Configuration | INPORT | Number of ISS port where instrument is located | Telescope | TCS | Primary | Primary | Primary | integer | - | both | both | both | both | 0
| GCALLAMP | GCAL Lamp name | Telescope | TCS | Primary | Primary | Primary | string | - | both | both | both | calibration (flats and arcs) | QTH
| GCALSHUT | GCAL Shutter | Telescope | TCS | Primary | Primary | Primary | string | open¦closed | both | both | both | calibration (flats and arcs) | CLOSED | value should be uppercase (source: F2)
| GCALFILT | GCAL Filter name | Telescope | TCS | Primary | Primary | Primary | string | - | both | both | both | calibration (flats and arcs) | ND1.0
| GCALDIFF | GCAL Diffuser name | Telescope | TCS | Primary | Primary | Primary | string | - | both | both | both | calibration (flats and arcs) | VISIBLE
| CRPA | Cass Rotator Position Angle | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 192.2649618
| CRFOLLOW | Cass Rotator follow mode | Telescope | TCS | Primary | Primary | Primary | string | yes¦no | both | both | both | both | yes | value should be lowercase (source: NIRI)
| CGUIDMOD | Driving mode for carousel | Telescope | TCS | Primary | Primary | Primary | string | - | both | both | both | both | Basic | value should start uppercase (source: GMOS, F2)
| M2BAFFLE | Position of M2 baffle | Telescope | TCS | Primary | Primary | Primary | string | retracted¦near ir¦visible¦extended | both | both | both | both | VISIBLE | value should be uppercase (source: GMOS, F2)
| M2CENBAF | Position of M2 central hole baffle | Telescope | TCS | Primary | Primary | Primary | string | open¦closed | both | both | both | both | CLOSED | value should be uppercase (source: GMOS, F2)
| IAA | Instrument Alignment Angle | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 359.894
| SFRT2 | Science fold rotation angle (degrees) | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | -0.495
| SFTILT | Science fold tilt angle (degrees) | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 44.94
| SFLINEAR | Science fold linear position (mm) | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | -3
PWFS Pointing | PWFS2_ST | PWFS2 probe state | Telescope | TCS | Primary | Primary | Primary | string | frozen¦guiding¦parked | both | both | both | both | parked | value should be lowercase (source: GMOS, F2)
| P2FOCUS | PWFS2 focus offset (mm) | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | -0.06
ADD? (TLH) |  | Boolean flag for which of the two ADC In/Out Focus offsets are applied?
| P2AOBJEC | Object name for PWFS2, Chop A | Telescope | TCS | Primary | Primary | Primary | string | - | both | both | both | both | 6.7653437522771005E18
| P2AFRAME | PWFS2 target coordinate system | Telescope | TCS | Primary | Primary | Primary | string | - | both | both | both | both | FK5 | value should be uppercase (source: F2)
| P2AEQUIN | Equinox for PWFS2 guide star coordinates | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 2000.
| P2AEPOCH | Epoch for PWFS2 guide star coordinates | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 2000.
| P2ARA | RA of PWFS2 guide star | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 63.3451625
| P2ADEC | Dec of PWFS2 guide star | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | -47.81737222
| P2APMRA | PWFS2 proper motion in RA | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 0.00321
| P2APMDEC | PWFS2 proper motion in Dec | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 0.0558
| P2APARAL | PWFS2 parallax | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 0.
| P2ARV | PWFS2 heliocentric radial velocity | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 0.
Time | MJD-OBS | MJD of start of observation | Telescope | TCS | Primary | Primary | Primary | float | - | both | both | both | both | 66067.2815157778
WCS |  | st
WCS | 0 (primary) ¦ 4 (extension) | WCS description | Instrument |  | Data | Data | Extension | string | - | both | both | both | both
| WAT1_001 | Continuation of WCS description | Instrument |  | Data | Data | Extension | string | - | both | both | both | both | reserved
| WAT2_001 | Continuation of WCS description | Instrument |  | Data | Data | Extension | string | - | both | both | both | both | reserved
| CTYPE1 | Type of WCS coordinate for RA axis | Instrument |  | Data | Data | Extension | string | - | both | both | both | both | RA---TAN | value should be uppercase
| CTYPE2 | Type of WCS coordinate for DEC axis | Instrument |  | Data | Data | Extension | string | - | both | both | both | both | DEC--TAN | value should be uppercase
| CRPIX1 | WCS reference pixel for RA axis | Instrument |  | Data | Data | Extension | float | - | both | both | both | both | 2048.
| CRPIX2 | WCS reference pixel for DEC axis | Instrument |  | Data | Data | Extension | float | - | both | both | both | both | 2056.
| CRVAL1 | Value of WCS at ref pixel for RA axis (decimal degrees) | Instrument |  | Data | Data | Extension | float | - | both | both | both | both | 32.339727
| CRVAL2 | Value of WCS at ref pixel for DEC axis (decimal degrees) | Instrument |  | Data | Data | Extension | float | - | both | both | both | both | -16.486495
| CD1_1 | WCS rotation matrix | Instrument |  | Data | Data | Extension | float | - | both | both | both | both | 2.9072132910301E-05
| CD1_2 | WCS rotation matrix | Instrument |  | Data | Data | Extension | float | - | both | both | both | both | -4.0681876804887E-05
| CD2_1 | WCS rotation matrix | Instrument |  | Data | Data | Extension | float | - | both | both | both | both | 4.06818768048876E-05
| CD2_2 | WCS rotation matrix | Instrument |  | Data | Data | Extension | float | - | both | both | both | both | 2.9072132910301E-05
ADD? (TLH) |  | SIP keywords for distortion correction
INSTRUMENT
| IMTYPE | Imaging observation type | Instrument |  | Primary | Primary | Primary | string | full¦window | both | imaging | both | both |  | value should be lowercase (source: Alexander, 20230712)
| SLITSIZE | Slit width for spectroscopy | Instrument |  | Primary | Primary | Primary | float | - | both | spectroscopy | both | both
| ADCUSED | ADC used (0=yes¦1=no) | Instrument |  | Primary | Primary | Primary | integer | 0¦1 | both | both | both | both | 0 (yes) or 1 (no)
ADD? (TLH) |  | ADC Angle
ADD? (TLH) |  | ADC Prisms position
ADD? (TLH) |  | FPM Stage Position
ADD? (TLH) |  | FPM Mask Position
ADD? (TLH) |  | VPH Stage Positions (4)
ADD? (TLH) |  | Hydra status, HE sensor status, etc. (what engineering data are available?)
FITS Standard | SIMPLE | File does conform to FITS standard | Instrument |  | Primary | Primary | Primary | boolean | T¦F | both | both | both | both | T
| BITPIX | Number of bits per data pixel | Instrument |  | Primary & Data | Primary & Data | Primary & Extension | integer | 16 | both | both | both | both | 16
| NAXIS | Number of data axes | Instrument |  | Primary & Data | Primary & Data | Primary & Extension | integer | 0¦4 | both | both | both | both | 4 | 0 (primary) ¦ 4 (extension)
| NAXISn | Length of data axis n | Instrument |  | Data | Data | Extension | integer | - | both | both | both | both | 4 | Both VIS and NIR, all modes; Refer to SCORPIO Exposure Modes and FITS Data Structure |  | shape (Nintegrations, Ngroups, Nrows, Ncolumns)
| EXTEND | FITS dataset may contain extensions | Instrument |  | Primary | Primary | Primary | boolean | T¦F | both | both | both | both | T
| NEXTEND | Total number of MEF extensions | Instrument |  | Primary | Primary | Primary | integer | - | both | both | both | both | number of extensions
| COMMENT | Comments regarding FITS file | Instrument |  | Primary | Primary | Primary | string | - | both | both | both | both
| HISTORY | Data reduction history | Instrument |  | Primary | Primary | Primary | string | - | both | both | both | both
File | FILE | File name | Instrument |  | Primary | Primary | Primary | string | - | both | both | both | both | SCORPIO_SCIENCE_FULL_IMAGING_20200715.fits
| DATE | Date and time in UTC on which HDU was created | Instrument |  | Primary | Primary | Primary | string | YYYY-MM-DDThh:mm:ss | both | both | both | both | 2020-07-15T04:21:53
| OBSMODE | Observing mode | Instrument |  | Primary | Primary | Primary | string | image¦spect | both | both | both | both |  | value should be lowercase (source: Alexander, 20230712)
| SHUTTER | Shutter state during observation | Instrument |  | Primary | Primary | Primary | string | - | both | both | both | both | OPEN | value should be uppercase (source: GMOS)
| DATE-OBS | UT date of observation start | Instrument |  | Primary | Primary | Primary | string | YYYY-MM-DD | both | both | both | both | 2020-07-09
| TIME-OBS | UT time of observation start | Instrument |  | Primary | Primary | Primary | string | HH:MM:SS.SSS | both | both | both | both | 03:09:29.355
| TIMESYS | Time system used | Instrument |  | Primary | Primary | Primary | string | UTC | both | both | both | both | UTC | value should be uppercase (source: GMOS, F2)
| EXPTREQ | Requested exposure time in seconds | Instrument |  | Data | Data | Primary | float | - | both | both | both | both |  | desired exposure time, which includes all integrations; Refer to SCORPIO Exposure Modes and FITS Data Structure | What is this?
| EXPSTART | UT time of start of exposure | Instrument |  | Data | Data | Primary | string | HH:MM:SS.SSS | both | both | both | both | 01:10:20.000030
| INTTREQ | Requested integration time in seconds | Instrument |  | Data | Data | Extension | float | - | both | both | both | both |  | desired integration time; Refer to SCORPIO Exposure Modes and FITS Data Structure | What is this?
| EXPTIME | Exposure time in seconds | Instrument |  | Data | Data | Primary | float | - | both | both | both | both |  | real exposure time, which includes all integrations; Refer to SCORPIO Exposure Modes and FITS Data Structure | What is this?
| INTTIME | Integration time in seconds | Instrument |  | Data | Data | Extension | float | - | both | both | both | both |  | real integration time; Refer to SCORPIO Exposure Modes and FITS Data Structure | What is this?
| INTTOTT | Sum of integration time and readout time in seconds | Instrument |  | Data | Data | Extension | float | - | both | both | both | both
| ELAPSED | Elapsed observation time in seconds | Instrument |  | Primary | Primary | Primary | float | - | both | both | both | both | 326.
| AEXPTIME | Actual exposure time for nod A | Instrument |  | Primary | Primary | Primary | float | - | both | spectroscopy | both | both |  |  | Should these go in data headers? Different for spectro nod A vs spectro nod B
| BEXPTIME | Actual exposure time for nod B | Instrument |  | Primary | Primary | Primary | float | - | both | spectroscopy | both | both |  |  | Should these go in data headers? Different for spectro nod A vs spectro nod B
Nod-and-shift | NODPIX | Number of rows shifted | Instrument |  | Primary | Primary | Primary | integer | - | VIS | spectroscopy | both | both
| NODAXOFF | Target offset in x for nod A in arcsec | Instrument |  | Primary | Primary | Primary | float | - | both | spectroscopy | both | both
| NODAYOFF | Target offset in y for nod A in arcsec | Instrument |  | Primary | Primary | Primary | float | - | both | spectroscopy | both | both
| NODBXOFF | Target offset in x for nod B in arcsec | Instrument |  | Primary | Primary | Primary | float | - | both | spectroscopy | both | both
| NODBYOFF | Target offset in y for nod B in arcsec | Instrument |  | Primary | Primary | Primary | float | - | both | spectroscopy | both | both
| NODMODE | Nod-and-shift mode | Instrument |  | Primary | Primary | Primary | string | standard¦pattern¦none | both | spectroscopy | both | both | STANDARD | value should be uppercae (source: GMOS)
| NODCOUNT | Requested number of nod-and-shift cycles | Instrument |  | Primary | Primary | Primary | integer | - | both | spectroscopy | both | both |  | comes from the OT
| ANODCNT | Actual number of exposures begun for nod A | Instrument |  | Primary | Primary | Primary | integer | - | both | spectroscopy | both | both |  | reported
| BNODCNT | Actual number of exposures begun for nod B | Instrument |  | Primary | Primary | Primary | integer | - | both | spectroscopy | both | both |  | reported
Data standard | XTENSION | IMAGE extension | Instrument |  | Data | Data | Extension | string | - | both | both | both | both | IMAGE | value should be uppercase
| PCOUNT | Keyword for IMAGE | Instrument |  | Data | Data | Extension | integer | 0 | both | both | both | both | 0
| GCOUNT | Keyword for IMAGE | Instrument |  | Data | Data | Extension | integer | 1 | both | both | both | both | 1
Data | CHANNEL | Name of channel | Instrument |  | Data | Primary | Primary | string | g¦r¦i¦z¦Y¦J¦H¦K | both | both | both | both | g, r, i, z, Y, J, H, K | value should be mixed case based on standard color channel (source: Alexander 20230712)
| DETECTOR | Detector name | Instrument |  | Data | Data | Primary | string | SCORPIO + name | both | both | both | both | SCORPIO + e2v_CCD231-84_g_ss_astro-multi-2
| RDOUTSPD | Readout speed of detector (Hz) | Instrument |  | Data | Data | Extension | float | - | both | both | both | both | 5.2, 0.38 | what is the readout speed for VIS window imaging continuous vs burst?
| BZERO | Offset data range to that of unsigned short | Instrument |  | Data | Data | Extension | integer | - | both | both | both | both | 32768
| BSCALE | Default scaling factor | Instrument |  | Data | Data | Extension | integer | - | both | both | both | both | 1
| BUNIT | Data units | Instrument |  | Data | Data | Extension | string | ADU¦electron | both | both | both | both | ADU (raw data)
| INHERIT | Inherit the primary header | Instrument |  | Data | Data | Extension | boolean | T¦F | both | both | both | both | F
| DATATYPE | Type of data | Instrument |  | Data | Data | Extension | string | - | both | both | both | both | Intensity | value should start uppercase (source: GMOS, F2)
| DARKTIME | Dark current integration in seconds | Instrument |  | Data | Data | Extension | float | - | both | both | both | both | exposure time + random variance |  | config?
| GAINn | Amplifier gain | Instrument |  | Data | Data | Extension | float | - | both | both | both | both | 1.7 (electrons/ADU)
| RDNOISn | Readout noise | Instrument |  | Data | Data | Extension | float | - | both | both | both | both | 2.7 (electrons)
Window mode | WMODE | Operating mode for window readouts | Instrument |  | Primary | Primary | Primary | string | off¦continuous¦burst¦cds | both | imaging | both | both |  | value should be lowercase (source: Alexander 20230712)
Add! | WBDELTA | Time after start of exposure | Instrument |  | Data | Data | Extension | float | - | VIS | imaging | burst | both | number of seconds | This is a measure of time, a delta
Add! | WNFDARK | Number of unilluminated window frames at beginning of extension | Instrument |  | Data | Data | Extension | integer | - | VIS | imaging | continuous | both
Up-the-ramp sampling | UTRMODE | Up-the-ramp sampling mode | Instrument |  | Data | Data | Extension | string | - | NIR | both | both | both |  | value should be lowercase (source: Alexander 20230712)
| UTRFRAME | Number of frames averaged per group for up-the-ramp sampling | Instrument |  | Data | Data | Extension | integer | - | NIR | both | both | both
| UTRSKIP | Number of skips per group for up-the-ramp sampling | Instrument |  | Data | Data | Extension | integer | - | NIR | both | both | both
Add! | UTRGROUP | Number of groups in an integration for up-the-ramp sampling | Instrument |  | Data | Data | Extension | integer | - | NIR | both | both | both
Optical elements | FILTERn | Filter name | Instrument |  | Data | Data | Primary | string | - | both | both | both | both | OCT-SP-VC-FL-101/001
| FILTIDn | Filter barcode | Instrument |  | Data | Data | Primary | string | - | both | both | both | both | 200816 | config files
| DICHROn | Dichroic name | Instrument |  | Data | Data | Primary | string | - | both | both | both | both | OCT-SP-NC-BS-101/001 | config files
| DICHRIDn | Dichroic barcode | Instrument |  | Data | Data | Primary | string | - | both | both | both | both | 446837 | config files
| GRATING | Grating name | Instrument |  | Data | Data | Primary | string | - | both | both | both | both | OCT-SP-VC-GR-101/001 | config files
| GRATID | Grating barcode | Instrument |  | Data | Data | Primary | string | - | both | both | both | both | 226875 | config files
| EXTNAME | Name of extension | Instrument |  | Data | Data | Extension | string | - | both | both | both | both | SCI
Data Sections | DETSEC | Detector section | Instrument |  | Data | Data | Extension | string | - | both | both | both | both | [1537:2560,1545:2568]
| DATSECn | Data section(s) | Instrument |  | Data | Data | Extension | string | - | both | both | both | both | [11:522,1:522]
| OVRSECSn | Serial overscan section(s) | Instrument |  | Data | Data | Extension | string | - | VIS | both | both | both | [1:10,11:522]
| OVRSECPn | Parallel overscan section(s) | Instrument |  | Data | Data | Extension | string | - | VIS | both | full | both | [11:522,1:10]
| ARRSECn | Amplifier sections | Instrument |  | Data | Data | Extension | string | - | both | both | both | both | [1537:2048,1545:2056]
| ARRNAMn | Amplifier names | Instrument |  | Data | Data | Extension | string | - | both | both | both | both | e2v_CCD231-84_g-1
| REFSCSn | Reference pixels for infrared detectors side | Instrument |  | Data | Data | Extension | string | - | NIR | both | full | both | [1:4,521:1028]
| REFSCTn | Reference pixels for infrared detectors top | Instrument |  | Data | Data | Extension | string | - | NIR | both | both | both | [5:68,1029:1032]
| REFSCBn | Reference pixels for infrared detectors bottom | Instrument |  | Data | Data | Extension | string | - | NIR | both | both | both | [5:68,1:4]
| UNILSECn | Un-illuminated pixels of infrared amplifiers | Instrument |  | Data | Data | Extension | string | - | NIR | imaging | full | both | [9:68,5:1028]
Engineering
ADD! (TLH) |  | TCB Temperatures for: Cold Bench, Radiation Shield, FPM, etc.
Engineering H2RG | TRST | Reset integrator (120 nsec) | Instrument |  | Data | Data | Extension | [7 empty] | engineering mode
| TSETL1 | First settling time before integration (40 nsec) | Instrument |  | Data | Data | Extension
| TSETL2 | Second settling time before integration (160 nsec) | Instrument |  | Data | Data | Extension
| TINT | Integration time (1360 nsec) | Instrument |  | Data | Data | Extension
| TSETL3 | Settling time after integration (40 nsec) | Instrument |  | Data | Data | Extension
| TADCSTRT | Start of ADC time (120 nsec) | Instrument |  | Data | Data | Extension
| TADC | ADC time (400 nsec) | Instrument |  | Data | Data | Extension
| TADCFIFO | AD data transfer into FIFO (120 nsec) | Instrument |  | Data | Data | Extension
| CLKDLY | Half clock period (480 nsec) | Instrument |  | Data | Data | Extension
| VDDA | Analog positive power supply | Instrument |  | Data | Data | Extension
| VPOWER | Power of output source-follower | Instrument |  | Data | Data | Extension
| DRAIN | Output source-follower drain node | Instrument |  | Data | Data | Extension
| BIASPOW | Pixel source-follower source node | Instrument |  | Data | Data | Extension
| BIASGATE | Pixel source-follower bias voltage | Instrument |  | Data | Data | Extension
| CELDRAIN | Pixel source-follower drain node | Instrument |  | Data | Data | Extension
| DSUB | Detector substrate voltage | Instrument |  | Data | Data | Extension
| DRST | Detector reset voltage | Instrument |  | Data | Data | Extension
| ADREF | Default gain | Instrument |  | Data | Data | Extension
| VIDEOMAX | Maximum video board DC bias voltage | Instrument |  | Data | Data | Extension
| CLKMAX | Maximum clock voltage, should be 3.3V | Instrument |  | Data | Data | Extension
| VSOURCE | Source load voltage | Instrument |  | Data | Data | Extension
| CLK_HI | High clock voltage | Instrument |  | Data | Data | Extension
| CLK_LO | Low clock voltage | Instrument |  | Data | Data | Extension
| CLK_ZERO | Zero volts for power-on sequence | Instrument |  | Data | Data | Extension
| VDD | Digital positive power supply | Instrument |  | Data | Data | Extension
| VPOFFSET | Video processor offset values | Instrument |  | Data | Data | Extension
| DETRD | Readout Direction | Instrument |  | Data | Data | Extension
ADD! (TLH) |  | Detector temperature
ADD! (TLH) |  | Heater set point
Engineering CCD | CCD-SS | Substrate | Instrument |  | Data | Data | Extension
| CCD_DDA | Dump Drain A | Instrument |  | Data | Data | Extension
| CCD_DGA | Dump Gate A | Instrument |  | Data | Data | Extension
| CCD_TGA | Transfer Gate A | Instrument |  | Data | Data | Extension
| CCD_RCA1 | Image Area Clock Phase 1 A | Instrument |  | Data | Data | Extension
| CCD_RCA2 | Image Area Clock Phase 2 A | Instrument |  | Data | Data | Extension
| CCD_RCA3 | Image Area Clock Phase 3 A | Instrument |  | Data | Data | Extension
| CCD_RCA4 | Image Area Clock Phase 4 A | Instrument |  | Data | Data | Extension
| CCD_RCB1 | Image Area Clock Phase 1 B | Instrument |  | Data | Data | Extension
| CCD_RCB2 | Image Area Clock Phase 2 B | Instrument |  | Data | Data | Extension
| CCD_RCB3 | Image Area Clock Phase 3 B | Instrument |  | Data | Data | Extension
| CCD_RCB4 | Image Area Clock Phase 4 B | Instrument |  | Data | Data | Extension
| CCD_RCC1 | Image Area Clock Phase 1 C | Instrument |  | Data | Data | Extension
| CCD_RCC3 | Image Area Clock Phase 3 C | Instrument |  | Data | Data | Extension
| CCD_RCC2 | Image Area Clock Phase 2 C | Instrument |  | Data | Data | Extension
| CCD_RCC4 | Image Area Clock Phase 4 C | Instrument |  | Data | Data | Extension
| CCD_DDD | Dump Drain D | Instrument |  | Data | Data | Extension
| CCD_DGD | Dump Gate D | Instrument |  | Data | Data | Extension
| CCD_TGD | Transfer Gate D | Instrument |  | Data | Data | Extension
| CCD_RCD1 | Image Area Clock Phase 1 D | Instrument |  | Data | Data | Extension
| CCD_RCD2 | Image Area Clock Phase 2 D | Instrument |  | Data | Data | Extension
| CCD_RCD3 | Image Area Clock Phase 3 D | Instrument |  | Data | Data | Extension
| CCD_RCD4 | Image Area Clock Phase 4 D | Instrument |  | Data | Data | Extension
| CCD_OSE | Output Source E | Instrument |  | Data | Data | Extension
| CCD_ODE | Output Drain E | Instrument |  | Data | Data | Extension
| CCD_RDE | Reset Drain E | Instrument |  | Data | Data | Extension
| CCD_OGE | Output Gate E | Instrument |  | Data | Data | Extension
| CCD_RGE | Reset Gate E | Instrument |  | Data | Data | Extension
| CCD_SWE | Summing Well E | Instrument |  | Data | Data | Extension
| CCD_DOSE | Dummy Output Source E | Instrument |  | Data | Data | Extension
| CCD_DODE | Dummy Output Drain E | Instrument |  | Data | Data | Extension
| CCD_RCE1 | Register Clock Phase 1 E | Instrument |  | Data | Data | Extension
| CCD_RCE2 | Register Clock Phase 2 E | Instrument |  | Data | Data | Extension
| CCD_RCE3 | Register Clock Phase 3 E | Instrument |  | Data | Data | Extension
| CCD_OSF | Output Source F | Instrument |  | Data | Data | Extension
| CCD_ODF | Output Drain F | Instrument |  | Data | Data | Extension
| CCD_RDF | Reset Drain F | Instrument |  | Data | Data | Extension
| CCD_OGF | Output Gate F | Instrument |  | Data | Data | Extension
| CCD_RGF | Reset Gate F | Instrument |  | Data | Data | Extension
| CCD_SWF | Summing Well F | Instrument |  | Data | Data | Extension
| CCD_DOSF | Dummy Output Source F | Instrument |  | Data | Data | Extension
| CCD_DODF | Dummy Output Drain F | Instrument |  | Data | Data | Extension
| CCD_RCF1 | Register Clock Phase 1 F | Instrument |  | Data | Data | Extension
| CCD_RCF2 | Register Clock Phase 2 F | Instrument |  | Data | Data | Extension
| CCD_RCF3 | Register Clock Phase 3 F | Instrument |  | Data | Data | Extension
| CCD_OSG | Output Source G | Instrument |  | Data | Data | Extension
| CCD_ODG | Output Drain G | Instrument |  | Data | Data | Extension
| CCD_RDG | Reset Drain G | Instrument |  | Data | Data | Extension
| CCD_OGG | Output Gate G | Instrument |  | Data | Data | Extension
| CCD_RGG | Reset Gate G | Instrument |  | Data | Data | Extension
| CCD_SWG | Summing Well G | Instrument |  | Data | Data | Extension
| CCD_DOSG | Dummy Output Source G | Instrument |  | Data | Data | Extension
| CCD_DODG | Dummy Output Drain G | Instrument |  | Data | Data | Extension
| CCD_RCG1 | Register Clock Phase 1 G | Instrument |  | Data | Data | Extension
| CCD_RCG2 | Register Clock Phase 2 G | Instrument |  | Data | Data | Extension
| CCD_RCG3 | Register Clock Phase 3 G | Instrument |  | Data | Data | Extension
| CCD_OSH | Output Source H | Instrument |  | Data | Data | Extension
| CCD_ODH | Output Drain H | Instrument |  | Data | Data | Extension
| CCD_RDH | Reset Drain H | Instrument |  | Data | Data | Extension
| CCD_OGH | Output Gate H | Instrument |  | Data | Data | Extension
| CCD_RGH | Reset Gate H | Instrument |  | Data | Data | Extension
| CCD_SWH | Summing Well H | Instrument |  | Data | Data | Extension
| CCD_DOSH | Dummy Output Source H | Instrument |  | Data | Data | Extension
| CCD_DODH | Dummy Output Drain H | Instrument |  | Data | Data | Extension
| CCD_RCH1 | Register Clock Phase 1 H | Instrument |  | Data | Data | Extension
| CCD_RCH2 | Register Clock Phase 2 H | Instrument |  | Data | Data | Extension
| CCD_RCH3 | Register Clock Phase 3 H | Instrument |  | Data | Data | Extension
ADD! (TLH) |  | Detector temperature
ADD! (TLH) |  | Heater set point
DRSW
DRSW Files | BIASIM | Name of bias master frame | DRSW |  | Data | Data | Extension | string | - | both | both | both | both | n/a
| DARKIM | Name of dark master frame | DRSW |  | Data | Data | Extension | string | - | both | both | both | both | n/a
| FLATIM | Name of flat-field master frame | DRSW |  | Data | Data | Extension | string | - | both | both | both | both | n/a
| FRINIM | Name of fringe master frame | DRSW |  | Data | Data | Extension | string | - | both | both | both | both | n/a
| BPMAP | Name of bad pixel map | DRSW |  | Data | Data | Extension | string | - | both | both | both | both | n/a
| DCLOG1 | Name of reference arc | DRSW |  | Data | Data | Extension | string | - | both | both | both | both | n/a
| WAVTRAN | Name of reference wavelength solution | DRSW |  | Data | Data | Extension | string | - | both | both | both | both | n/a
| TELLURIC | Name of telluric master frame | DRSW |  | Data | Data | Extension | string | - | both | both | both | both | n/a
DRSW ROI | DETROIX | ROI 1 X start | DRSW |  | Data | Data | Extension | integer | - | both | both | both | both | pixel X start
| DETROIXS | ROI 1 X size | DRSW |  | Data | Data | Extension | integer | - | both | both | both | both | pixel X end
| DETROIY | ROI 1 Y start | DRSW |  | Data | Data | Extension | integer | - | both | both | both | both | pixel Y start
| DETROIYS | ROI 1 Y size | DRSW |  | Data | Data | Extension | integer | - | both | both | both | both | pixel Y end
DRSW Process | GAINORIG | Value of gain after gain correction | DRSW |  | Data | Data | Extension | float | - | both | both | both | both
| RDNORIG | Value of read noise after gain correction | DRSW |  | Data | Data | Extension | float | - | both | both | both | both
| TRIMMED | Indicates removal of overscan or reference pixels | DRSW |  | Data | Data | Extension | string | yes¦no | both | both | both | both
| CA-FLAG | Flag for flux calibration | DRSW |  | Data | Data | Extension | string | - | both | both | both | both
| NL-FLAG | Flag for non-linearity correction | DRSW |  | Data | Data | Extension | string | - | both | both | both | both
| SKY-FLAG | Flag for sky subtraction | DRSW |  | Data | Data | Extension | string | - | both | both | both | both
| QE-FLAG | Flag for quantum efficiency correction | DRSW |  | Data | Data | Extension | string | - | both | both | both | both
| CR-FLAG | Flag for cosmic ray rejection | DRSW |  | Data | Data | Extension | string | - | both | both | both | both
| DC-FLAG | Flag for dispersion correction | DRSW |  | Data | Data | Extension | string | - | both | both | both | both
DRSW Timestamp | TBD | UT Timestamp indicating TBD | DRSW |  | Data | Data | Extension
Note on E1: Added by TLH -Thomas Hayward
Note on C101: Should we list all the TCS data required for the WCS construction? -Thomas Hayward
Note on C112: Changed "derivative" to "rotation" -Thomas Hayward
Note on C141: Each VIS channel shutter may be opened and closed multiple times during an observation eg. for Nod and Shift – there is no single "State". -Thomas Hayward
Note on H141: Should be "Data" -Thomas Hayward
Note on H149: Data/Extension? -Dana Koeppe
Note on H167: Data? -Thomas Hayward
Note on H168: Data? -Thomas Hayward

## Original
Supplied by D. Koeppe 2025-02-18, with note: "Last updated 20230731"
Class | FITS Keyword | Description | Origin | Header (bundle) | Header (de-bundled) | Header (4D structure) | Data Types | Allowed Values/Format | NIR/VIS | Imag./Spectr. | Full/Window | Cal/Science | Example Value | Comments | Questions
Standard | SIMPLE | File does conform to FITS standard | Instrument | Primary | Primary | Primary | boolean | T¦F | both | both | both | both | T
| BITPIX | Number of bits per data pixel | Instrument | Primary & Data | Primary & Data | Primary & Data | integer | 16 | both | both | both | both | 16
| NAXIS | Number of data axes | Instrument | Primary & Data | Primary & Data | Primary & Data | integer | 0¦4 | both | both | both | both | 0 (primary) ¦ 4 (extension)
| NAXISn | Length of data axis n | Instrument | Data | Data | Data | integer | - | both | both | both | both | shape (Nintegrations, Ngroups, Nrows, Ncolumns) | Both VIS and NIR, all modes; Refer to SCORPIO Exposure Modes and FITS Data Structure
| EXTEND | FITS dataset may contain extensions | Instrument | Primary | Primary | Primary | boolean | T¦F | both | both | both | both | T
| NEXTEND | Total number of MEF extensions | Instrument | Primary | Primary | Primary | integer | - | both | both | both | both | number of extensions
| COMMENT | Comments regarding FITS file | Instrument | Primary | Primary | Primary | string | - | both | both | both | both
| HISTORY | Data reduction history | Instrument | Primary | Primary | Primary | string | - | both | both | both | both
File | FILE | File name | Instrument | Primary | Primary | Primary | string | - | both | both | both | both | SCORPIO_SCIENCE_FULL_IMAGING_20200715.fits
| DATE | Date and time in UTC on which HDU was created | Instrument | Primary | Primary | Primary | string | YYYY-MM-DDThh:mm:ss | both | both | both | both | 2020-07-15T04:21:53
Telescope | TELESCOP | Name of telescope | Telescope | Primary | Primary | Primary | string | Gemini-North¦Gemini-South | both | both | both | both | Gemini-South
| INSTRUME | Instrument used to acquire data | Telescope | Primary | Primary | Primary | string | SCORPIO | both | both | both | both | SCORPIO | value should be uppercase (source: GMOS, F2)
| OBSERVER | Gemini observers | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | Simpson, Homer J.
| SSA | Gemini SSAs | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | Conrad, Hermes M.
Observation | OBSTYPE | Observation type | Telescope | Primary | Primary | Primary | string | arc¦bias¦cal¦dark¦flat¦fringe¦object | both | both | both | both |  | value should be uppercase (source: GMOS, F2)
| OBSCLASS | Observe class | Telescope | Primary | Primary | Primary | string | acq¦acqCal¦dayCal¦partnerCal¦progCal¦science | both | both | both | both |  | value should be lowercase (source: GMOS, F2)
| OBSMODE | Observing mode | Instrument | Primary | Primary | Primary | string | image¦spect | both | both | both | both |  | value should be lowercase (source: Alexander, 20230712)
| IMTYPE | Imaging observation type | Instrument | Primary | Primary | Primary | string | full¦window | both | imaging | both | both |  | value should be lowercase (source: Alexander, 20230712)
| SLITSIZE | Slit width for spectroscopy | Instrument | Primary | Primary | Primary | float | - | both | spectroscopy | both | both
| GEMPRGID | Gemini program ID | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | GS-2019B-Q-207
| OBSID | Observation ID / Data label | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | GS-2019B-Q-207-14
| DATALAB | Data Handling System data label | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | GS-2019B-Q-207-14-002
| SCIBAND | Science ranking band | Telescope | Primary | Primary | Primary | integer | - | both | both | both | both | 2
| PROP_MD | Proprietary Metadata | Telescope | Primary | Primary | Primary | boolean | T¦F | both | both | both | both | F
| RELEASE | End of proprietary period | Telescope | Primary | Primary | Primary | string | YYYY-MM-DD | both | both | both | both | 2021-09-18
Quality | REQIQ | Requested Image Quality | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | 85-percentile | value should start uppercase (source: GMOS, F2)
| REQCC | Requested Cloud Cover | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | 50-percentile | value should start uppercase (source: GMOS, F2)
| REQBG | Requested Background | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | 80-percentile | value should start uppercase (source: GMOS, F2)
| REQWV | Requested Water Vapor | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | Any | value should start uppercase (source: GMOS, F2)
| RAWIQ | Raw Image Quality | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | 70-percentile | value should start uppercase (source: GMOS, F2)
| RAWCC | Raw Cloud Cover | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | 50-percentile | value should start uppercase (source: GMOS, F2)
| RAWBG | Raw Background | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | Any | value should start uppercase (source: GMOS, F2)
| RAWWV | Raw Water Vapor | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | Any | value should start uppercase (source: GMOS, F2)
| RAWGEMQA | Gemini Quality Assessment | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | USABLE | value should be uppercase (source: GMOS, F2)
| RAWPIREQ | PI requirements met | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | YES | value should be uppercase (source: GMOS, F2)
Environment | AIRMASS | Mean airmass for the observation | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 1.248
| AMSTART | Airmass at start of observation | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 1.204
| AMEND | Airmass at end of observation | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 1.305
| HUMIDITY | Relative humidity (fraction) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 14
| TAMBIENT | Ambient temperature at start of observation (C) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | -5.2389
| TAMBIEN2 | Ambient temperature at start of observation (F) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 22.5699
| DEWPOINT | Dew point at start of observation (C) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | -18.6
| DEWPOIN2 | Dew point at start of observation (F) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | -1.48
| PRESSURE | Atmospheric pressure at start of observation (mm Hg) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 536.9031
| PRESSUR2 | Atmospheric pressure at start of observation (Pa) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 71580.9992
| WINDSPEE | Wind speed at start of observation (m/s) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 2.7
| WINDSPE2 | Wind speed at start of observation (mph) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 6.0399
| WINDDIRE | Wind direction (degrees) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 230.
Target | OBJECT | Object name | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | PhoSim Star and Galaxy Field | may be uppercase or lowercase (source: GMOS, F2)
| FRAME | Target coordinate system | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | FK5 | value should be uppercase (source: GMOS, F2)
| EQUINOX | Equinox of coordinate system | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 2000.
| EPOCH | Epoch for target coordinates | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 2000.
| RA | Right Ascension of target | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 32.339727
| DEC | Declination of target | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | -16.486495
| PMRA | Proper motion of target in RA | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 0
| PMDEC | Proper motion of target in Dec | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 0
| PARALLAX | Parallax of target | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 0
| RADVEL | Heliocentric radial velocity of target | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 0
| RATRGOFF | Target offset in RA in arcsec | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 0
| DECTRGOF | Target offset in Dec in arcsec | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 0
Tracking | TRKFRAME | Tracking coordinate system | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | FK5 | value should be uppercase (source: GMOS, F2)
| TRKEQUIN | Equinox of tracking coordinate system | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 2000
| TRKEPOCH | Differential tracking reference epoch | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 58744.38924
| RATRACK | Differential tracking rate RA | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 0
| DECTRACK | Differential tracking rate Dec | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 0
Pointing | XOFFSET | Telescope offset in x in arcsec | Telescope | Data | Primary | Primary | float | - | both | both | both | both | 0
| YOFFSET | Telescope offset in y in arcsec | Telescope | Data | Primary | Primary | float | - | both | both | both | both | 0
| POFFSET | Telescope offset in p in arcsec | Telescope | Data | Primary | Primary | float | - | both | both | both | both | 0
| QOFFSET | Telescope offset in q in arcsec | Telescope | Data | Primary | Primary | float | - | both | both | both | both | 0
| RAOFFSET | Telescope offset in RA in arcsec | Telescope | Data | Primary | Primary | float | - | both | both | both | both | 0
| DECOFFSE | Telescope offset in Dec in arcsec | Telescope | Data | Primary | Primary | float | - | both | both | both | both | 0
| HA | Telescope hour angle | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | -00:00:15.73
| ELEVATIO | Elevation at start of observation | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 13.1968
| AZIMUTH | Azimuth at start of observation | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 173.4321819
| PAR_ANG | Parallactic angle | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 1 | does not exist in sample GMOS and F2 headers
| PA | Sky Position Angle at start of exposure | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 0
Configuration | INPORT | Number of ISS port where instrument is located | Telescope | Primary | Primary | Primary | integer | - | both | both | both | both | 0
| ADCUSED | ADC used (0=yes¦1=no) | Instrument | Primary | Primary | Primary | integer | 0¦1 | both | both | both | both | 0 (yes) or 1 (no)
| SHUTTER | Shutter state during observation | Instrument | Primary | Primary | Primary | string | - | both | both | both | both | OPEN | value should be uppercase (source: GMOS)
| GCALLAMP | GCAL Lamp name | Telescope | Primary | Primary | Primary | string | - | both | both | both | calibration (flats and arcs) | QTH
| GCALSHUT | GCAL Shutter | Telescope | Primary | Primary | Primary | string | open¦closed | both | both | both | calibration (flats and arcs) | CLOSED | value should be uppercase (source: F2)
| GCALFILT | GCAL Filter name | Telescope | Primary | Primary | Primary | string | - | both | both | both | calibration (flats and arcs) | ND1.0
| GCALDIFF | GCAL Diffuser name | Telescope | Primary | Primary | Primary | string | - | both | both | both | calibration (flats and arcs) | VISIBLE
| CRPA | Cass Rotator Position Angle | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 192.2649618
| CRFOLLOW | Cass Rotator follow mode | Telescope | Primary | Primary | Primary | string | yes¦no | both | both | both | both | yes | value should be lowercase (source: NIRI)
| CGUIDMOD | Driving mode for carousel | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | Basic | value should start uppercase (source: GMOS, F2)
| M2BAFFLE | Position of M2 baffle | Telescope | Primary | Primary | Primary | string | retracted¦near ir¦visible¦extended | both | both | both | both | VISIBLE | value should be uppercase (source: GMOS, F2)
| M2CENBAF | Position of M2 central hole baffle | Telescope | Primary | Primary | Primary | string | open¦closed | both | both | both | both | CLOSED | value should be uppercase (source: GMOS, F2)
| IAA | Instrument Alignment Angle | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 359.894
| SFRT2 | Science fold rotation angle (degrees) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | -0.495
| SFTILT | Science fold tilt angle (degrees) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 44.94
| SFLINEAR | Science fold linear position (mm) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | -3
PWFS Pointing | PWFS2_ST | PWFS2 probe state | Telescope | Primary | Primary | Primary | string | frozen¦guiding¦parked | both | both | both | both | parked | value should be lowercase (source: GMOS, F2)
| P2FOCUS | PWFS2 focus offset (mm) | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | -0.06
| P2AOBJEC | Object name for PWFS2, Chop A | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | 6.7653437522771005E18
| P2AFRAME | PWFS2 target coordinate system | Telescope | Primary | Primary | Primary | string | - | both | both | both | both | FK5 | value should be uppercase (source: F2)
| P2AEQUIN | Equinox for PWFS2 guide star coordinates | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 2000.
| P2AEPOCH | Epoch for PWFS2 guide star coordinates | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 2000.
| P2ARA | RA of PWFS2 guide star | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 63.3451625
| P2ADEC | Dec of PWFS2 guide star | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | -47.81737222
| P2APMRA | PWFS2 proper motion in RA | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 0.00321
| P2APMDEC | PWFS2 proper motion in Dec | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 0.0558
| P2APARAL | PWFS2 parallax | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 0.
| P2ARV | PWFS2 heliocentric radial velocity | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 0.
Time | MJD-OBS | MJD of start of observation | Telescope | Primary | Primary | Primary | float | - | both | both | both | both | 66067.2815157778
| DATE-OBS | UT date of observation start | Instrument | Primary | Primary | Primary | string | YYYY-MM-DD | both | both | both | both | 2020-07-09
| TIME-OBS | UT time of observation start | Instrument | Primary | Primary | Primary | string | HH:MM:SS.SSS | both | both | both | both | 03:09:29.355
| TIMESYS | Time system used | Instrument | Primary | Primary | Primary | string | UTC | both | both | both | both | UTC | value should be uppercase (source: GMOS, F2)
| EXPTREQ | Requested exposure time in seconds | Instrument | Data | Data | Primary | float | - | both | both | both | both |  | desired exposure time, which includes all integrations; Refer to SCORPIO Exposure Modes and FITS Data Structure | What is this?
| EXPSTART | UT time of start of exposure | Instrument | Data | Data | Primary | string | HH:MM:SS.SSS | both | both | both | both | 01:10:20.000030
| INTTREQ | Requested integration time in seconds | Instrument | Data | Data | Data | float | - | both | both | both | both |  | desired integration time; Refer to SCORPIO Exposure Modes and FITS Data Structure | What is this?
| EXPTIME | Exposure time in seconds | Instrument | Data | Data | Primary | float | - | both | both | both | both |  | real exposure time, which includes all integrations; Refer to SCORPIO Exposure Modes and FITS Data Structure | What is this?
| INTTIME | Integration time in seconds | Instrument | Data | Data | Data | float | - | both | both | both | both |  | real integration time; Refer to SCORPIO Exposure Modes and FITS Data Structure | What is this?
| INTTOTT | Sum of integration time and readout time in seconds | Instrument | Data | Data | Data | float | - | both | both | both | both
| ELAPSED | Elapsed observation time in seconds | Instrument | Primary | Primary | Primary | float | - | both | both | both | both | 326.
| AEXPTIME | Actual exposure time for nod A | Instrument | Primary | Primary | Primary | float | - | both | spectroscopy | both | both |  |  | Should these go in data headers? Different for spectro nod A vs spectro nod B
| BEXPTIME | Actual exposure time for nod B | Instrument | Primary | Primary | Primary | float | - | both | spectroscopy | both | both |  |  | Should these go in data headers? Different for spectro nod A vs spectro nod B
Nod-and-shift | NODPIX | Number of rows shifted | Instrument | Primary | Primary | Primary | integer | - | VIS | spectroscopy | both | both
| NODAXOFF | Target offset in x for nod A in arcsec | Instrument | Primary | Primary | Primary | float | - | both | spectroscopy | both | both
| NODAYOFF | Target offset in y for nod A in arcsec | Instrument | Primary | Primary | Primary | float | - | both | spectroscopy | both | both
| NODBXOFF | Target offset in x for nod B in arcsec | Instrument | Primary | Primary | Primary | float | - | both | spectroscopy | both | both
| NODBYOFF | Target offset in y for nod B in arcsec | Instrument | Primary | Primary | Primary | float | - | both | spectroscopy | both | both
| NODMODE | Nod-and-shift mode | Instrument | Primary | Primary | Primary | string | standard¦pattern¦none | both | spectroscopy | both | both | STANDARD | value should be uppercae (source: GMOS)
| NODCOUNT | Requested number of nod-and-shift cycles | Instrument | Primary | Primary | Primary | integer | - | both | spectroscopy | both | both |  | comes from the OT
| ANODCNT | Actual number of exposures begun for nod A | Instrument | Primary | Primary | Primary | integer | - | both | spectroscopy | both | both |  | reported
| BNODCNT | Actual number of exposures begun for nod B | Instrument | Primary | Primary | Primary | integer | - | both | spectroscopy | both | both |  | reported
Data standard | XTENSION | IMAGE extension | Instrument | Data | Data | Data | string | - | both | both | both | both | IMAGE | value should be uppercase
| PCOUNT | Keyword for IMAGE | Instrument | Data | Data | Data | integer | 0 | both | both | both | both | 0
| GCOUNT | Keyword for IMAGE | Instrument | Data | Data | Data | integer | 1 | both | both | both | both | 1
Data | CHANNEL | Name of channel | Instrument | Data | Primary | Primary | string | g¦r¦i¦z¦Y¦J¦H¦K | both | both | both | both | g, r, i, z, Y, J, H, K | value should be mixed case based on standard color channel (source: Alexander 20230712)
| DETECTOR | Detector name | Instrument | Data | Data | Primary | string | SCORPIO + name | both | both | both | both | SCORPIO + e2v_CCD231-84_g_ss_astro-multi-2
| RDOUTSPD | Readout speed of detector (Hz) | Instrument | Data | Data | Data | float | - | both | both | both | both | 5.2, 0.38 | what is the readout speed for VIS window imaging continuous vs burst?
| BZERO | Offset data range to that of unsigned short | Instrument | Data | Data | Data | integer | - | both | both | both | both | 32768
| BSCALE | Default scaling factor | Instrument | Data | Data | Data | integer | - | both | both | both | both | 1
| BUNIT | Data units | Instrument | Data | Data | Data | string | ADU¦electron | both | both | both | both | ADU (raw data)
| INHERIT | Inherit the primary header | Instrument | Data | Data | Data | boolean | T¦F | both | both | both | both | F
| DATATYPE | Type of data | Instrument | Data | Data | Data | string | - | both | both | both | both | Intensity | value should start uppercase (source: GMOS, F2)
| DARKTIME | Dark current integration in seconds | Instrument | Data | Data | Data | float | - | both | both | both | both | exposure time + random variance |  | config?
| GAINn | Amplifier gain | Instrument | Data | Data | Data | float | - | both | both | both | both | 1.7 (electrons/ADU)
| RDNOISn | Readout noise | Instrument | Data | Data | Data | float | - | both | both | both | both | 2.7 (electrons)
Window mode | WMODE | Operating mode for window readouts | Instrument | Primary | Primary | Primary | string | off¦continuous¦burst¦cds | both | imaging | both | both |  | value should be lowercase (source: Alexander 20230712)
Add! | WBDELTA | Time after start of exposure | Instrument | Data | Data | Data | float | - | VIS | imaging | burst | both | number of seconds | This is a measure of time, a delta
Add! | WNFDARK | Number of unilluminated window frames at beginning of extension | Instrument | Data | Data | Data | integer | - | VIS | imaging | continuous | both
Up-the-ramp sampling | UTRMODE | Up-the-ramp sampling mode | Instrument | Data | Data | Data | string | - | NIR | both | both | both |  | value should be lowercase (source: Alexander 20230712)
| UTRFRAME | Number of frames averaged per group for up-the-ramp sampling | Instrument | Data | Data | Data | integer | - | NIR | both | both | both
| UTRSKIP | Number of skips per group for up-the-ramp sampling | Instrument | Data | Data | Data | integer | - | NIR | both | both | both
Add! | UTRGROUP | Number of groups in an integration for up-the-ramp sampling | Instrument | Data | Data | Data | integer | - | NIR | both | both | both
Optical elements | FILTERn | Filter name | Instrument | Data | Data | Primary | string | - | both | both | both | both | OCT-SP-VC-FL-101/001
| FILTIDn | Filter barcode | Instrument | Data | Data | Primary | string | - | both | both | both | both | 200816 | config files
| DICHROn | Dichroic name | Instrument | Data | Data | Primary | string | - | both | both | both | both | OCT-SP-NC-BS-101/001 | config files
| DICHRIDn | Dichroic barcode | Instrument | Data | Data | Primary | string | - | both | both | both | both | 446837 | config files
| GRATING | Grating name | Instrument | Data | Data | Primary | string | - | both | both | both | both | OCT-SP-VC-GR-101/001 | config files
| GRATID | Grating barcode | Instrument | Data | Data | Primary | string | - | both | both | both | both | 226875 | config files
DRSW Files | EXTNAME | Name of extension | Instrument | Data | Data | Data | string | - | both | both | both | both | SCI
| BIASIM | Name of bias master frame | DRSW | Data | Data | Data | string | - | both | both | both | both | n/a
| DARKIM | Name of dark master frame | DRSW | Data | Data | Data | string | - | both | both | both | both | n/a
| FLATIM | Name of flat-field master frame | DRSW | Data | Data | Data | string | - | both | both | both | both | n/a
| FRINIM | Name of fringe master frame | DRSW | Data | Data | Data | string | - | both | both | both | both | n/a
| BPMAP | Name of bad pixel map | DRSW | Data | Data | Data | string | - | both | both | both | both | n/a
| DCLOG1 | Name of reference arc | DRSW | Data | Data | Data | string | - | both | both | both | both | n/a
| WAVTRAN | Name of reference wavelength solution | DRSW | Data | Data | Data | string | - | both | both | both | both | n/a
| TELLURIC | Name of telluric master frame | DRSW | Data | Data | Data | string | - | both | both | both | both | n/a
Data Sections | DETSEC | Detector section | Instrument | Data | Data | Data | string | - | both | both | both | both | [1537:2560,1545:2568]
| DATSECn | Data section(s) | Instrument | Data | Data | Data | string | - | both | both | both | both | [11:522,1:522]
| OVRSECSn | Serial overscan section(s) | Instrument | Data | Data | Data | string | - | VIS | both | both | both | [1:10,11:522]
| OVRSECPn | Parallel overscan section(s) | Instrument | Data | Data | Data | string | - | VIS | both | full | both | [11:522,1:10]
| ARRSECn | Amplifier sections | Instrument | Data | Data | Data | string | - | both | both | both | both | [1537:2048,1545:2056]
| ARRNAMn | Amplifier names | Instrument | Data | Data | Data | string | - | both | both | both | both | e2v_CCD231-84_g-1
| REFSCSn | Reference pixels for infrared detectors side | Instrument | Data | Data | Data | string | - | NIR | both | full | both | [1:4,521:1028]
| REFSCTn | Reference pixels for infrared detectors top | Instrument | Data | Data | Data | string | - | NIR | both | both | both | [5:68,1029:1032]
| REFSCBn | Reference pixels for infrared detectors bottom | Instrument | Data | Data | Data | string | - | NIR | both | both | both | [5:68,1:4]
| UNILSECn | Un-illuminated pixels of infrared amplifiers | Instrument | Data | Data | Data | string | - | NIR | imaging | full | both | [9:68,5:1028]
| DETROIX | ROI 1 X start | DRSW | Data | Data | Data | integer | - | both | both | both | both | pixel X start
| DETROIXS | ROI 1 X size | DRSW | Data | Data | Data | integer | - | both | both | both | both | pixel X end
| DETROIY | ROI 1 Y start | DRSW | Data | Data | Data | integer | - | both | both | both | both | pixel Y start
| DETROIYS | ROI 1 Y size | DRSW | Data | Data | Data | integer | - | both | both | both | both | pixel Y end
DRSW Process | GAINORIG | Value of gain after gain correction | DRSW | Data | Data | Data | float | - | both | both | both | both
| RDNORIG | Value of read noise after gain correction | DRSW | Data | Data | Data | float | - | both | both | both | both
| TRIMMED | Indicates removal of overscan or reference pixels | DRSW | Data | Data | Data | string | yes¦no | both | both | both | both
| CA-FLAG | Flag for flux calibration | DRSW | Data | Data | Data | string | - | both | both | both | both
| NL-FLAG | Flag for non-linearity correction | DRSW | Data | Data | Data | string | - | both | both | both | both
| SKY-FLAG | Flag for sky subtraction | DRSW | Data | Data | Data | string | - | both | both | both | both
| QE-FLAG | Flag for quantum efficiency correction | DRSW | Data | Data | Data | string | - | both | both | both | both
| CR-FLAG | Flag for cosmic ray rejection | DRSW | Data | Data | Data | string | - | both | both | both | both
| DC-FLAG | Flag for dispersion correction | DRSW | Data | Data | Data | string | - | both | both | both | both
DRSW WCS | WAT0_001 | WCS description | Instrument | Data | Data | Data | string | - | both | both | both | both
| WAT1_001 | Continuation of WCS description | Instrument | Data | Data | Data | string | - | both | both | both | both
| WAT2_001 | Continuation of WCS description | Instrument | Data | Data | Data | string | - | both | both | both | both
| CTYPE1 | Type of WCS coordinate for RA axis | Instrument | Data | Data | Data | string | - | both | both | both | both | RA---TAN | value should be uppercase
| CTYPE2 | Type of WCS coordinate for DEC axis | Instrument | Data | Data | Data | string | - | both | both | both | both | DEC--TAN | value should be uppercase
| CRPIX1 | WCS reference pixel for RA axis | Instrument | Data | Data | Data | float | - | both | both | both | both | 2048.
| CRPIX2 | WCS reference pixel for DEC axis | Instrument | Data | Data | Data | float | - | both | both | both | both | 2056.
| CRVAL1 | Value of WCS at ref pixel for RA axis (decimal degrees) | Instrument | Data | Data | Data | float | - | both | both | both | both | 32.339727
| CRVAL2 | Value of WCS at ref pixel for DEC axis (decimal degrees) | Instrument | Data | Data | Data | float | - | both | both | both | both | -16.486495
| CD1_1 | WCS derivative matrix | Instrument | Data | Data | Data | float | - | both | both | both | both | 2.9072132910301E-05
| CD1_2 | WCS derivative matrix | Instrument | Data | Data | Data | float | - | both | both | both | both | -4.0681876804887E-05
| CD2_1 | WCS derivative matrix | Instrument | Data | Data | Data | float | - | both | both | both | both | 4.06818768048876E-05
| CD2_2 | WCS derivative matrix | Instrument | Data | Data | Data | float | - | both | both | both | both | 2.9072132910301E-05
DRSW Timestamp | TBD | UT Timestamp indicating TBD | DRSW | Data | Data | Data
Engineering H2RG | TRST | Reset integrator (120 nsec) | Instrument | Data | Data | Data | [7 empty] | engineering mode
| TSETL1 | First settling time before integration (40 nsec) | Instrument | Data | Data | Data
| TSETL2 | Second settling time before integration (160 nsec) | Instrument | Data | Data | Data
| TINT | Integration time (1360 nsec) | Instrument | Data | Data | Data
| TSETL3 | Settling time after integration (40 nsec) | Instrument | Data | Data | Data
| TADCSTRT | Start of ADC time (120 nsec) | Instrument | Data | Data | Data
| TADC | ADC time (400 nsec) | Instrument | Data | Data | Data
| TADCFIFO | AD data transfer into FIFO (120 nsec) | Instrument | Data | Data | Data
| CLKDLY | Half clock period (480 nsec) | Instrument | Data | Data | Data
| VDDA | Analog positive power supply | Instrument | Data | Data | Data
| VPOWER | Power of output source-follower | Instrument | Data | Data | Data
| DRAIN | Output source-follower drain node | Instrument | Data | Data | Data
| BIASPOW | Pixel source-follower source node | Instrument | Data | Data | Data
| BIASGATE | Pixel source-follower bias voltage | Instrument | Data | Data | Data
| CELDRAIN | Pixel source-follower drain node | Instrument | Data | Data | Data
| DSUB | Detector substrate voltage | Instrument | Data | Data | Data
| DRST | Detector reset voltage | Instrument | Data | Data | Data
| ADREF | Default gain | Instrument | Data | Data | Data
| VIDEOMAX | Maximum video board DC bias voltage | Instrument | Data | Data | Data
| CLKMAX | Maximum clock voltage, should be 3.3V | Instrument | Data | Data | Data
| VSOURCE | Source load voltage | Instrument | Data | Data | Data
| CLK_HI | High clock voltage | Instrument | Data | Data | Data
| CLK_LO | Low clock voltage | Instrument | Data | Data | Data
| CLK_ZERO | Zero volts for power-on sequence | Instrument | Data | Data | Data
| VDD | Digital positive power supply | Instrument | Data | Data | Data
| VPOFFSET | Video processor offset values | Instrument | Data | Data | Data
| DETRD | Readout Direction | Instrument | Data | Data | Data
Engineering CCD | CCD-SS | Substrate | Instrument | Data | Data | Data
| CCD_DDA | Dump Drain A | Instrument | Data | Data | Data
| CCD_DGA | Dump Gate A | Instrument | Data | Data | Data
| CCD_TGA | Transfer Gate A | Instrument | Data | Data | Data
| CCD_RCA1 | Image Area Clock Phase 1 A | Instrument | Data | Data | Data
| CCD_RCA2 | Image Area Clock Phase 2 A | Instrument | Data | Data | Data
| CCD_RCA3 | Image Area Clock Phase 3 A | Instrument | Data | Data | Data
| CCD_RCA4 | Image Area Clock Phase 4 A | Instrument | Data | Data | Data
| CCD_RCB1 | Image Area Clock Phase 1 B | Instrument | Data | Data | Data
| CCD_RCB2 | Image Area Clock Phase 2 B | Instrument | Data | Data | Data
| CCD_RCB3 | Image Area Clock Phase 3 B | Instrument | Data | Data | Data
| CCD_RCB4 | Image Area Clock Phase 4 B | Instrument | Data | Data | Data
| CCD_RCC1 | Image Area Clock Phase 1 C | Instrument | Data | Data | Data
| CCD_RCC3 | Image Area Clock Phase 3 C | Instrument | Data | Data | Data
| CCD_RCC2 | Image Area Clock Phase 2 C | Instrument | Data | Data | Data
| CCD_RCC4 | Image Area Clock Phase 4 C | Instrument | Data | Data | Data
| CCD_DDD | Dump Drain D | Instrument | Data | Data | Data
| CCD_DGD | Dump Gate D | Instrument | Data | Data | Data
| CCD_TGD | Transfer Gate D | Instrument | Data | Data | Data
| CCD_RCD1 | Image Area Clock Phase 1 D | Instrument | Data | Data | Data
| CCD_RCD2 | Image Area Clock Phase 2 D | Instrument | Data | Data | Data
| CCD_RCD3 | Image Area Clock Phase 3 D | Instrument | Data | Data | Data
| CCD_RCD4 | Image Area Clock Phase 4 D | Instrument | Data | Data | Data
| CCD_OSE | Output Source E | Instrument | Data | Data | Data
| CCD_ODE | Output Drain E | Instrument | Data | Data | Data
| CCD_RDE | Reset Drain E | Instrument | Data | Data | Data
| CCD_OGE | Output Gate E | Instrument | Data | Data | Data
| CCD_RGE | Reset Gate E | Instrument | Data | Data | Data
| CCD_SWE | Summing Well E | Instrument | Data | Data | Data
| CCD_DOSE | Dummy Output Source E | Instrument | Data | Data | Data
| CCD_DODE | Dummy Output Drain E | Instrument | Data | Data | Data
| CCD_RCE1 | Register Clock Phase 1 E | Instrument | Data | Data | Data
| CCD_RCE2 | Register Clock Phase 2 E | Instrument | Data | Data | Data
| CCD_RCE3 | Register Clock Phase 3 E | Instrument | Data | Data | Data
| CCD_OSF | Output Source F | Instrument | Data | Data | Data
| CCD_ODF | Output Drain F | Instrument | Data | Data | Data
| CCD_RDF | Reset Drain F | Instrument | Data | Data | Data
| CCD_OGF | Output Gate F | Instrument | Data | Data | Data
| CCD_RGF | Reset Gate F | Instrument | Data | Data | Data
| CCD_SWF | Summing Well F | Instrument | Data | Data | Data
| CCD_DOSF | Dummy Output Source F | Instrument | Data | Data | Data
| CCD_DODF | Dummy Output Drain F | Instrument | Data | Data | Data
| CCD_RCF1 | Register Clock Phase 1 F | Instrument | Data | Data | Data
| CCD_RCF2 | Register Clock Phase 2 F | Instrument | Data | Data | Data
| CCD_RCF3 | Register Clock Phase 3 F | Instrument | Data | Data | Data
| CCD_OSG | Output Source G | Instrument | Data | Data | Data
| CCD_ODG | Output Drain G | Instrument | Data | Data | Data
| CCD_RDG | Reset Drain G | Instrument | Data | Data | Data
| CCD_OGG | Output Gate G | Instrument | Data | Data | Data
| CCD_RGG | Reset Gate G | Instrument | Data | Data | Data
| CCD_SWG | Summing Well G | Instrument | Data | Data | Data
| CCD_DOSG | Dummy Output Source G | Instrument | Data | Data | Data
| CCD_DODG | Dummy Output Drain G | Instrument | Data | Data | Data
| CCD_RCG1 | Register Clock Phase 1 G | Instrument | Data | Data | Data
| CCD_RCG2 | Register Clock Phase 2 G | Instrument | Data | Data | Data
| CCD_RCG3 | Register Clock Phase 3 G | Instrument | Data | Data | Data
| CCD_OSH | Output Source H | Instrument | Data | Data | Data
| CCD_ODH | Output Drain H | Instrument | Data | Data | Data
| CCD_RDH | Reset Drain H | Instrument | Data | Data | Data
| CCD_OGH | Output Gate H | Instrument | Data | Data | Data
| CCD_RGH | Reset Gate H | Instrument | Data | Data | Data
| CCD_SWH | Summing Well H | Instrument | Data | Data | Data
| CCD_DOSH | Dummy Output Source H | Instrument | Data | Data | Data
| CCD_DODH | Dummy Output Drain H | Instrument | Data | Data | Data
| CCD_RCH1 | Register Clock Phase 1 H | Instrument | Data | Data | Data
| CCD_RCH2 | Register Clock Phase 2 H | Instrument | Data | Data | Data
| CCD_RCH3 | Register Clock Phase 3 H | Instrument | Data | Data | Data

## Proposal
Proposed FITS File organization
File | Element | Sub Element | Contents | Comment
"Utility" File
| Primary Header |  | Origin, Date, Time, ObsID, Datalabel
| FITS Table 1 |  | Optical element IPC codes
| FITS Table 2 |  | TCB temperatures | time-tagged, row1 at start of observation, row2 at end
Channel Y |  |  |  | 1 file per nod, nod pair, etc.
| Primary Header |  | Observing and Telescope Meta Data
Channel name
| Extension | Header
Data